[image: image1.wmf][image: image2.wmf][image: image3.wmf][image: image4.wmf]
CITY OF PATTERSON
PLANNING COMMISSION MINUTES
FEBRUARY 27, 2025
The Planning Commission regular meeting of February 27, 2025, was called to order by
Chairperson West at 7:02 p.m.
SHOWN PRESENT (HYBRID MEETING): Shown present: Chairperson West, Vice Chairperson Bendix, Commissioner Sidhu and Commissioner Apland. Also shown present were: Community Development Director Stice, Associate Planner Rodriguez, IT Support Technician II Lane Valenzuela, Videographer Justin Danner and Planning Commission Secretary Melo. Shown excused: Commissioner Alexander and City Planner Andrews.
ROLL CALL: Chairperson West, Vice Chairperson Bendix, Commissioner Sidhu and Commissioner Apland
ITEMS FROM PUBLIC:




None
STATEMENT OF CONFLICT BY COMMISSIONERS:
None
CORRESPONDENCE:




None
CONSENT AGENDA




None

AGENDA ITEMS:
1. Public Hearing:
Architectural & Site Plan Review #24-01, McDonalds, S. 
Rogers Road & Sperry Avenue, APN #021-093-002
Review of an Architectural and Site Plan Review for the construction of an approximately 4,000-square-foot commercial restaurant building located at the southwest corner of Sperry Avenue and Rogers Road. The project consists of a McDonalds restaurant with a drive thru. The drive thru will be considered under an administrative use review process. The site plan also includes parking, landscaping, and other appurtenances. 

Community Development Director Stice shared a PowerPoint presentation, addressing the project. He answered questions from the Commission regarding parking spaces and drive thru. 
Open Public Hearing:
7:26 p.m.

Drew Sanchez, Construction Manager for McDonalds

Mr. Sanchez spoke in favor of the project and thanked staff for working with them. He stated that he was available to answer any questions.
Kandace Weyhrauch, resident of Patterson

Mrs. Weyhrauch spoke in favor of the Golden State Restaurant Group, McDonalds and said they’ve been a big part of the community and support the schools. She stated that they’ve been an active part of the Patterson Westley Chamber of Commerce. She urged the community to support businesses that support the Patterson community.
Ed, Patterson resident
He was concerned that another McDonalds was going to be in Patterson. He stated that we need more access to recreational activities and other things that the community wants. He was upset that there are already too many fast-food restaurants in Patterson. He stated that we should have more options off the freeway that the community wants to have. He urged the Planning Commission not to approve the project.

Commissioners discussed the proposed project with staff and spoke about land use and the legalities regarding what types of uses allowed on the parcel proposed for McDonalds. 
Corey, owner of project

He stated that he would like to thank staff and the planning commission for considering the proposed project. He stated his team is committed to providing jobs and tax revenue and enhancing the area. He invited the Planning Commission for a restaurant tour.
Carly

She stated that she works for Corey who also owns the existing McDonalds in Patterson and Westley. She stated that the local McDonalds is part of a small family business that has evolved over the years and sources products locally. She stated that she’s happy to be part of the city of Patterson.
Close Public Hearing:
7:46 p.m.
Reopen Public Hearing:
7:47 p.m.
Commissioners asked if Drew Sanchez agreed with the conditions of approval.

Reclose Public Hearing:
7:48 p.m.
Motion to approve Architectural & Site Plan Review #24-01 with three findings and ninety-seven conditions of approval:


By:
Vice Chairperson Bendix



Conditions of Approval

On-going

	1
	 The project shall comply with all applicable State and Municipal Codes, including the most recently adopted California Building Codes and the California Green Code and meet the requirements of the Public Works Department, City Engineer, Building Inspector, Community Development Department and Fire Chief.

	2
	The applicant shall comply with all conditions of approval and adopted mitigation measures.

	3
	Development shall occur in substantial conformance with the site plan and elevations as approved by the Planning Commission.

	4
	The applicant shall agree to defend at his/her sole expense any action brought against the City, its present or former agents, officers, or employees because of the issuance of said approval, or in any way relating to the implementation thereof, or in the alternative, to relinquish such approval.  The applicant shall reimburse the City, its agents, officers, or employees, for any court costs and attorney's fees which the City, its agents, officers or employees may be required by a court to pay as a result of such action.  The City may, at its sole discretion, participate at its own expense in the defense of any such action but such participation shall not relieve applicant of his/her obligations under this condition. 

	5
	That it shall be the applicant/successor in interest's responsibility and obligation to maintain all project related landscaping, both on site and within the right-of-way in a viable growth condition in perpetuity.  It shall not be acceptable to install landscaping in furtherance of an occupancy permit only to subsequently neglect and abandon the landscape elements.

	6
	That the mitigation measures outlined in the West Patterson Projects Environmental Impact Report, as applicable, are hereby incorporated, by reference, as mitigation measures for this project.

	 
	 

	 
	Design Requirements

	7
	All planted areas shall be separated from driveways by concrete curbs.

	8
	Stop signs with stop bar and legend shall be provided as needed to ensure safety and consistent with the Traffic Impact Study findings.

	9
	All sight distances for all corners and driveways shall conform to the City's sight distance requirements to the satisfaction of the City Engineer.

	10
	As applicable, streets, alleys, sidewalks, curbs, and gutters adjacent to the project shall be improved as necessary to provide safe vertical and horizontal transitions to connect improvements constructed within the project to existing improvements, as directed by the City Engineer.

	11
	All on-site utilities shall be underground and all utility fixtures, transformers, switching boxes and other installations shall be screened from view.

	12
	Per Title 24, CBC Section 11B-208, parking lots shall provide the required number and configuration of accessible parking spaces.

	13
	Frontage improvements shall be installed including sidewalk, curb, gutter, and commercial driveways street lights, landscaping, and required utilities, grading and drainage.  Pavement, sidewalk and driveway approach improvements shall require compaction tests per City Standards.

	14
	At the time of Public Improvement Plan review, plans shall be submitted to all applicable public utility companies for review.  Comments from the utilities regarding required easements, transformer locations, etc. shall be forwarded to Public Works Department for review and approval. 

	15
	All required public improvements shall be designed and constructed in accordance with the City of Patterson Standard Specifications and Drawings, including any standards updated prior to approval of the improvement plans.

	16
	All signage shall be submitted for a sign permit and shall be in accordance with relevant provisions of the Patterson Zoning Ordinance and sign program and that any proposed monument sign shall be constructed with design elements and materials reflective of those of the main building.

	17
	Setbacks shall be verified by a licensed surveyor.

	18
	Project shall be designed to meet LID standards.  The City of Patterson Post-Construction Stormwater Standards Manual shall be followed for guidance AND full trash capture devices shall be installed.

	19
	All trash enclosures shall be constructed to comply with the latest Health Department and Storm Water regulations (located at least 50' from any storm drain inlet, have covers, have adequate secondary containment, etc.). Trash enclosures shall be sized to comply with commercial and organics recycling requirements.  The project shall install 100 percent full trash capturing devices to comply with Stormwater Regulations and provide the City with a copy of the maintenance plan.  A maintenance agreement will be required and devices must be adequately maintained and business must sign up with the City’s FOG program to ensure maintenance. The trash enclosure design shall use colors and materials consistent with the building and meet minimum City standards.  All trash enclosure plans shall be reviewed and approved by the City’s Planning Department.  

	20
	Interior vehicle travelways shall be designed to be capable of withstanding loads imposed by trash and delivery trucks.

	21
	The project shall conform to the requirements of AB 939 and AB 1826 (Recycling).  Commercial projects shall submit a Construction Waste Management Plan for the City's review/approval.  All businesses generating four cubic yards of waste or more, per week, must comply with AB 939 Commercial Recycling requirements.

	22
	Plans for off-site public improvements and landscape plans must be submitted to the City Engineer for review and approval.  

	23
	Project shall comply with all Stormwater Pollution Prevention and Valley Air Pollution Control District regulations, including the City’s Post Construction/LID Standards and the Construction Activities Storm Water General Permit. 

	24
	All end parking spaces adjacent to raised curbing shall be one foot wider than the normal stall width (10 feet total).

	25
	If, the site grading area exceeds one acre or is part of a larger common plan of development, therefore the applicant must obtain a Construction Activities Storm Water General Permit.  In addition, a State's WDID number, SWPPP, and Storm Water Pollution Prevention Manager Information shall be required.

	26
	On-site and off-site storm water runoff shall be detained and metered into the storm drainage system to the satisfaction of the City Engineer.  

	27
	For new water service or existing water service, a Reduced Pressure Backflow prevention apparatus shall be installed per City Standards.

	28
	Street lighting shall be provided consistent with City standards.  Location and material shall be approved by the Public Works Department.  All new street lighting shall be LED.

	29
	Street trees shall be installed along public rights of way to City standards.  Canary Island Palm Trees shall be used as the street tree along Sperry Avenue.

	30
	Moisture barrier shall be installed behind sidewalk and medians.

	31
	Landscaping shall be provided along the frontage of the property.  Enhanced landscaping at the site's entryway shall include a minimum of three (3) PHOENIX CANARIENSIS palm trees placed behind/amongst a decorative arrangement of boulders, with a small recirculating waterfall and accent uplighting.  Final landscaping plans shall be subject to review and approval by the Public Works and Community Development Departments.

	32
	Project shall comply with all applicable stormwater regulations (Federal, State, and Local).  The applicant shall work with the City as it monitors the project during construction activities and perform adequate inspections as required by the City's MS4 Phase II Permit.  A deposit account shall be established by the developer/project owner to cover all SWPPP inspections conducted by the City.

	33
	That storm drainage infrastructure shall be designed to meet the post-construction stormwater standards and AB 1881 requirements.  Storm drainage plans shall be engineered and/or developed by a Qualified Stormwater Designer (QSD).  Prior to dedicating any basin/storm drainage facility to the City, they shall meet City Standards, stormwater regulations, be set-up with SCADA (if applicable), and be included in the maintenance district to provide funding for on-going maintenance.  Any temporary basin shall have adequate Best Management Practices (BMPs) and shall be monitored and inspected by a QSP to ensure stormwater compliance.  The temporary basin shall have a monitoring gauge to monitor the levels as well as have an emergency contingency plan to address high levels during the heavy storm season.  Any discharge to the City's storm system is prohibited and requires the City's authorization and lab sampling to ensure water quality meets State requirements.  All costs associated with discharge/sampling are the responsibility of the developer/project owner.  A secured maintenance agreement shall be required to ensure that the basin is monitored, maintained, and completed to satisfy state, local, federal stormwater and FEMA regulations.

	34
	All facilities shall be connected to the City's municipal system for water, sewer, and storm and be signed up for services prior to operation.  Additionally, all such facilities shall be extended across the Site to its west property boundary, within an access / utility easement, subject to review and approval by the City Engineer.

	35
	Water, sewer and storm calculations shall be provided for review during plan submittal.

	36
	All water meters shall be placed 1-foot behind the sidewalk with reduced pressure backflows.  Backflow prevention devices shall be as close as possible to the water meter box.

	37
	Landscaping and water service shall include reduced pressure back flow prevention devices.

	38
	All on-site water lines and fire hydrants shall be private.

	39
	All non-potable water valves shall be Christy G-4 with triangular lid purple in color or approved equal.

	40
	Non-potable water main and appurtenances shall be installed as required by the City for demands that are compatible with non-potable water, including, but not limited to landscape irrigation and vehicle washing.  Non-potable water system and installation shall be in accordance with the latest version of the City's non-potable water standards or guidelines, including pipe color, signage, cross connection control program, etc.  Connection to the non-potable water system shall be required when it becomes available. Connection shall be made by the owner at no expense to the City.  City engineer may ask the owner to pay their fair share in lieu of installation of the non-potable system.

	41
	The trash enclosure design shall be architecturally consistent with the primary building and shall be adequately screened from public view by use of appropriate, water-efficient landscaping materials.

	
	

	 
	Prior to Grading

	42
	Any abandoned wells on the project site shall be destroyed in accordance with requirements of the Stanislaus County Environmental Health Division prior to issuance of any grading permit or other site improvements.  All abandoned/destroyed wells shall be clearly shown on the improvement plans for the project.  A well destruction permit shall be required by Public Works prior to starting the work and inspections/confirmation of well destruction shall be confirmed by the Public Works Department.

	43
	Prior to the approval of grading and public improvement plans, the applicant shall establish a deposit account for plan check and inspection costs, post bonds as appropriate and obtain an encroachment permit as required.

	44
	Complete grading and drainage plans shall be submitted to and approved by the City Engineer.

	45
	At the time of grading/improvement plan submittal, the applicant shall deposit with the City, at time of plan check submittal, adequate funds to employ a qualified independent engineering consultant selected by the City to review grading and drainage improvement plans and to inspect the site prior to and during all major site preparation and grading.  A qualified Soils Engineer shall submit tests and reports to certify each parcel as ready for construction prior to starting foundations.

	46
	Where the difference in average elevations between adjacent lots is in excess of six inches, slope shall not exceed 2 to 1 grade or a grade found reasonable in the soils report, or a retaining wall shall be required. 

	47
	Prior to any site grading or construction, an erosion control plan and program shall be submitted to and approved by the Public Works Department.  Said plan and program shall address specific temporary and permanent erosion control measures associated with the project. 

	48
	It is the contractor’s responsibility to use watering, dust fences, soil binders, or other methods as directed by the City, to control dust throughout the construction operation. The applicant shall use all reasonable efforts to obtain non-potable water for construction or dust control purposes.  This condition shall not be interpreted as prohibiting the use of City potable water supplies for the irrigation of landscaping required in common areas.

	49
	All grading construction debris materials shall be removed and disposed into an approved dump site prior to any excavation or fill operations and/or as specified by the Solid Waste Management Plan and/or directed by Public Works.  All grading activities must comply with all stormwater regulations including stabilization of any soil disturbed area.  All excess dirt must be leveled and/or disposed of correctly and may not be taken to a facility that is not listed in the SWPPP of Solid Waste Management Plan and/or approved by the City.

	50
	The applicant or his/her agents or employees shall be responsible for removal and clean-up of any spill on public streets during his/her entire grading operations.

	51
	Lots shall drain in such a manner that there will be no undrained depressions.  The design of all such drains shall be subject to the review and approval of the City Engineer.

	52
	An engineering cost estimate shall be submitted with the grading and improvement plans for public improvements.  The applicant's engineer shall sign and stamp the calculation and cost estimates prior to issuance of building permits.

	53
	Prior to issuance of the grading permit, final right-of-way width and routes for drainage channels, pipelines, and service roads needed shall be established.

	54
	Measures to control erosion during construction shall be incorporated into the grading plans and shall be subject to review and approval by the City Engineer and property maintenance throughout the grading process.

	55
	Prior to issuance of a grading permit, the applicant shall submit a soils report, prepared by a registered geologist or qualified civil engineer, concerning soil conditions for grading, excavations, slope stabilization and revegetation, and footing and foundation construction.

	56
	The applicant shall obtain a grading permit for on-site excavation and fill prior to construction.

	57
	Prior to concrete pour inspection, compaction tests are required for all footings.

	58
	The project shall obtain an Industrial Stormwater Permit under the State Water Board and Regional Water Quality Control Board general permit, if applicable. 

	 
	

	 
	Construction Phase

	59
	Construction shall be limited to between the hours of 7:00 a.m. and 6:00 p.m. on non-holiday weekdays, and on Saturdays to between the hours 8:00 a.m. and 6:00 p.m.; that additional hours may be permitted at the discretion of the Public Works Director.  Construction activities may be allowed at any time on the interior of buildings once they are entirely enclosed, in conformance with the City’s noise ordinance.  

	60
	The applicant shall be responsible during construction for cleaning city streets, curbs, gutters and sidewalks of dirt tracked from the subject site.  The flushing of dirt and debris to storm drain or sanitary sewer facilities shall not be permitted.  The cleaning shall be done after each day's work or as directed by the Director of Public Works or the Planning Department.

	61
	All water, gas, sewer, underground electrical power, cable TV, telephone lines, conduits, or underground drain lines shall be installed before any paving is placed.


Prior to Building Permit Issuance
	62
	Lighting shall meet City standards, including mounting, aiming, and shielding light fixtures to prevent glare, light trespass, and light pollution.

	63
	For landscape and irrigation within the public ROW, a deposit shall be required to cover the installation of irrigation, landscaping, and plant materials (relocation) based upon the estimate of costs to be paid for and provided by the applicant. Project landscape plans must comply with AB1881 (Water Use Efficiency) requirements. Once the landscaping is complete an audit must be completed and the certificate sent into the City.

	64
	Prior to building permit issuance, the applicant shall submit to the City for review and approval a grading and drainage plan in compliance with all applicable regulations of the City of Patterson.

	65
	The applicant shall annex into all applicable Community Facilities Districts (CFDs) and/or Maintenance Districts that the City has in place for providing services to the site and/or on-going maintenance of any improvements that the City will take over (CFD 2013-01, Landscape Maintenance Districts (LMDs) Benefit Assessment Districts (BADs), County Service Area (CSA) and pay for all costs associated with this item.

	66
	The applicant shall submit a mitigation monitoring plan for review and approval by the City and the San Joaquin Valley Air Pollution Control District (SJVAPCD) for construction-related emissions prior to construction. Such a plan shall include provisions for compliance with District Rule VIII and shall include at least the following requirements:
a. All disturbed areas, including storage piles, which are not being actively utilized for construction purposes, shall be effectively stabilized of dust emissions using water, chemical stabilizer/suppressant, or vegetative ground cover. 
b. All on-site unpaved roads and off-site unpaved access roads shall be effectively stabilized of dust emissions using water or chemical stabilizer/suppressant.
 c. All land clearing, grubbing, scraping, excavation, land leveling, grading, cut & fill, and demolition activities shall be effectively controlled of fugitive dust emissions utilizing application of water or by presoaking.
 d. With the demolition of buildings up to six stories in height, all exterior surfaces of the building shall be wetted during demolition.
 e. When materials are transported off-site, all material shall be covered, effectively wetted to limit visible dust emissions, or at least six inches of freeboard space from the top of the container shall be maintained.
 f. All operations shall limit or expeditiously remove the accumulation of mud or dirt from adjacent public streets if and as needed when operations are occurring. (The use of dry rotary brushes is expressly prohibited except where preceded or accompanied by sufficient wetting to limit the visible dust emissions.) (Use of blower devices is expressly forbidden.) 
 g. Following the addition of materials to, or the removal of materials from, the surface of outdoor storage piles, said piles shall be effectively stabilized of fugitive dust emissions utilizing sufficient water or chemical stabilizer/suppressant. 

	 
	h. Limit traffic speeds on unpaved roads to 15 mph; and                                               i. Install sandbags or other erosion control measures to prevent silt runoff to public roadways from sites with a slope greater than one percent.

	67
	Public records are to be researched for the location of all possible survey monuments within the scope of the project and report shall be furnished to City Engineer and County Surveyor. 

	68
	Prior to issuance of a building permit, the applicant shall submit a Final Landscape and Irrigation Plan in compliance with AB 1881.  The City of Patterson Post-Construction Stormwater Standards Manual shall be followed for guidance.  The landscaping plan shall be consistent with City Standards and shall include at least two of the following low impact development methods:
• bioretention 
• cisterns and rain barrels 
• green roofs
• roof leader disconnection 
• permeable and porous paving (must be no less than 20% of walking or patio surface per Section 18.78.040) 
• vegetative swell and filter strips 
• volume retention

	69
	Sufficient water pressure and capacity to serve the project area shall be assured.  Water mains shall be installed on-site to provide adequate flow and reliability as required by the Public Works Director, City Engineer, and Fire Chief.

	70
	Design of the proposed project facilities shall include provisions to minimize water requirements, including the use of the following, to the extent deemed practical by the City:                                                                                                                         a. Use of low-flow fixtures, including shower heads and toilets as per the Uniform Building Code.
b. Use of drought-tolerant, native landscaping.

	71
	Separate water meters shall be installed for landscaping and indoor water services.

	72
	The project shall comply with City of Patterson Best Management Practices as defined in the City’s latest Urban Water Management Plan, California Urban Water Conservation Council BMPs, AB 1881, and mandatory water conservation measures defined in the State of California Green Building Code.

	73
	Future drainage system discharges shall comply with applicable state and federal pollutant discharge requirements.

	74
	Appropriate storm and sewer interceptors shall be included to the satisfaction of the City Engineer and Public Works Director.  Use of a grease/oil interceptor shall be required and shall be located on private property on the sewer service lateral to the satisfaction of the Public Works Director and City Engineer.

	75
	A Stormwater Pollution Prevention Plan (SWPPP) shall be completed and submitted to the City prior to any construction activities and must address grading, drainage, erosion control, and Post Construction Best Management Practices (BMPs).  In compliance with the City’s Post-Construction Stormwater Standards Manual, an Operations and Maintenance Plan also must be submitted. A SWPPP Inspection Deposit must be posted with the City to cover all SWPPP Inspections for the duration of the project.  

	76
	If using truncated domes, City prefers "Set in Place" domes.

	77
	Water meters shall be ordered and purchased through the Public Works Department.

	78
	If construction water will be obtained from the City's Fire Hydrant(s), a Fire Hydrant Use permit Application shall be submitted and approved by the Public Works Department.

	79
	If applicable, developer shall submit a Construction and Demolition Waste Management Plan to the Public Works Department.  The City shall require a final package prior to obtaining final approval to be submitted to ensure 60% diversion rate has been achieved. 

	80
	If the property is within a Special Flood Hazard Area, applicant shall obtain a floodplain development permit and build according to floodplain standards.

	81
	All pre-existing sewer laterals and storm drain lines shall be video inspected to ensure that the lines are clear of any debris and that they are not damaged.

	82
	All landscaping in the Public Right-of-Way shall be subject to review and approval by the Public Works and Community Development Department.

	83
	All pre-existing public improvements adjacent to the project area shall meet current City Standards and ADA standards.

	84
	Sprinkler plans, if necessary, shall be submitted prior to construction materials being brought on site.

	85
	Bicycle racks shall be designed and installed in accordance with City Standards (Code Section 18.76.050), with placement to be approved by the Community Development Department.


Prior to Certificate of Occupancy

	86
	Prior to issuance of a certificate of occupancy for each building, all ducts, meters, air conditioning equipment and all other mechanical equipment, whether on the ground, on the structure or elsewhere, shall be screened from public view with materials architecturally compatible with the main structure.  This includes gas and electric meters, electric transformers, and large water piping systems to be completely screened from a standard public viewing height of 6 feet.  All roof-mounted equipment which generates noise, solid particles, odors, etcetera, shall cause the objectionable material or effects to be directed away or shielded from adjoining land designated for residential development. A plan for the treatment of roof top equipment shall be submitted to the Planning Department prior to issuance of a building permit. 

	87
	Any street, alley, sidewalk, curb, or gutter, damaged by the applicant or its agents or employees shall be repaired, prior to final acceptance of tract improvements by the City Council, or sooner, at the discretion of the City Engineer.

	88
	Prior to issuance of a certificate of occupancy, mail receptacles shall be provided as required by the Postmaster of the City of Patterson.

	89
	A “Landscape & Stormwater Treatment Control Maintenance & Access Agreement" shall be required to ensure the maintenance of all landscaping and Stormwater treatment control devices/post-construction BMPs that will be owned and maintained by the project owner onsite.  The agreement will be reviewed and approved by the City Council and recorded at the County Recorder’s Office.

	90
	Project shall be required to stabilize the project for stormwater compliance and work with the City to perform a Final Stormwater inspection and acquire a Notice of Termination for the project.  All construction/temporary BMPs must be removed and all post-construction BMPs/stormwater treatment controls be in place and properly inspected.

	91
	Final inspection of the sewer and storm drain system shall be by televised inspection device as approved by the City Engineer at applicant’s expense.

	92
	That the owner/applicant shall enter into and record a reciprocal ingress/egress agreement in a form acceptable to and approved by the Community Development Department.  

	93
	That the owner/applicant shall submit a drive thru operational plan for review and approval by the Planning and Fire Departments.  Said plan shall provide mechanisms to prevent vehicle backups into the drive aisle and to streamline movement through the drive thru in the event of a backup.

	94
	To facilitate emergency response, exterior doors leading to fire service features or rooms shall be labeled such as ‘ELECTRICAL ROOM’.

	95
	Address numbers, building numbers shall be placed in a position that is plainly legible and visible from the street or road fronting the property. These numbers shall contrast with the background and be illuminated either internally or externally between dusk and dawn daily. Commercial address numbers shall be a minimum of six (6) inch tall Arabic numerals with a minimum stroke width of three quarter (3/4) inch.

	96
	All commercial projects (new, remodel, change of occupancy, addition or new business license inspection) shall install a Knox Key Box if one is not already installed. Key boxes shall be installed and secured in accordance with manufacturer’s specifications and mounted to the right of the main entrance door with the top of box no higher than six (6) feet above finished grade.

	97
	Where required, portable fire extinguishers shall be at least a 2A10BC per 2019 CA Fire Code § 906.


Second:

Commissioner Apland
Motion passed:
4-0 Vote

ROLL CALL:
Chairperson West, Vice Chairperson Bendix, Commissioner Sidhu, Commissioner Apland 
Ayes:

Chairperson West, Vice Chairperson Bendix, Commissioner Sidhu, Commissioner Apland
Noes:

None

Excused:
Commissioner Alexander
Abstained:
None
2. Public Hearing:
Architectural & Site Plan Review # 25-02, Walmart Remodel Project, 1030 



Sperry Avenue, APN#021-042-012




A public hearing to consider an architectural and site plan review for the existing 





Walmart Supercenter remodel, an approximately 3,010 square-foot expansion to 





an existing 151,117 square-foot building. The additional square footage will be 





used to expand the existing Online Grocery Pickup services of the store. The 





expansion will serve as a stockroom/storage area for associates to assemble 





orders, to be delivered to the waiting parking stalls outside.  One canopy and one 





arch, and two pilasters will be added to the front elevation of the expansion to 





match the existing architectural elements. In addition to the building expansion, 





several standard parking stalls will be repurposed as Online Grocery Pickup 





parking, to bring the overall Online Grocery Pickup stall count to 25. The total 





distribution of standard and accessible stalls will not be affected by the intended 





work. This project is exempt from review under the California Environmental 





Quality Act §15301(e)(2).

Associate Planner Rodriguez shared a PowerPoint presentation, addressing the project. She answered questions from the Commission.
Open Public Hearing:
7:56 p.m.

Christian Finn, architect for BRR Architecture along with Almirah Canape and Jacob Glaze and Basel Zaatarah, civil engineers for Kimley Horn

Mr. Finn stated that he and the other staff members were available for questions. Commissioners asked if they’ve reviewed the conditions of approval. There were no other questions from the Commission.

Close Public Hearing:
7:58 p.m.

Motion to approve Architectural & Site Plan Review #25-02 with two findings and eleven conditions of approval:



By:
Vice Chairperson Bendix



Conditions of Approval

1) That the improvements/construction shall comply with construction codes as adopted and enforced by the City of Patterson.

2) That the applicant shall comply with all City ordinances, statutes, regulations, and procedures.

3) That approval of this Architectural & Site Plan Review does not relieve the applicant from the requirement of subsequent permits and approvals, including but not limited to the following as may be applicable:

a) Improvement Plans

b) Building Permit and Certificate of Occupancy

c) Fire Department review for permits and/or occupancy. 

4) That if at any time work within the City’s right-of-way is required; a City Encroachment Permit shall be submitted for review and approval to the Public Works Department.

5) Project shall comply with all applicable stormwater regulations, including Post Construction Standards/Low Impact Development (LID).  The project must also comply with the Industrial Stormwater Permit requirements.  The City will require that prior to obtaining a City business license, that the business comply with Senate Bill 205.  To find out if this type of business requires a stormwater industrial permit from the State, please visit https://naics.com.  This includes Stormwater quality control devices (SCDs) /Low Impact Development (LID) that are required for this project and must be included as part of the civil improvement plans submitted if applicable.  For further information, please refer to the City’s Post Construction Stormwater Standards Manual.  A copy can be downloaded at http://www.ci.patterson.ca.us/DocumentCenter/View/2593/Post-Construction-Standards-Manual-2015-06-30-FINAL-07-01-15?bidId=
6) Project must comply with the latest edition of the California Green Building Code, including ADA (Americans Disability Act), and City Standards.

7) Commercial projects must submit a Construction & Demolition Waste Management Plan to the Public Works Department.  The city will require a final package prior to obtaining a final, including disposal tickets, to be submitted to ensure 60% diversion rate has been achieved.  For further information regarding this item, please email solidwaste@ci.patterson.ca.us 

8) Any lighting installed shall be LED.  For further details regarding LED requirements/ specifications, please contact Engineering at (209) 895-8076.

9) That the applicant shall maintain all on-site lighting in accordance with PMC Chapter 18.80.

10) That all improvements shall be designed and constructed in accordance with the City of Patterson Improvement Standards and to the satisfaction of the City Engineer.

11) That the applicant shall indemnify, defend, and hold harmless the City of Patterson, its agents, officers, and employees from any and all claims, actions, or proceedings against the City of Patterson, its agents, officers and employees to attack, set aside, void, or annul, any approval by the City of Patterson and its advisory agency, appeal board, or legislative body concerning the project, which action is brought within the time period provided for by the Government Code of the State of California.  The City of Patterson shall promptly notify the applicant of any claim, action or proceeding and shall cooperate fully in the defense.  If the City fails to do so, the applicant shall not thereafter be responsible to defend, indemnify or hold the City harmless.
Second:

Commissioner Apland
Motion passed:
4-0 Vote

ROLL CALL:
Chairperson West, Vice Chairperson Bendix, Commissioner Sidhu, Commissioner Apland 

Ayes:

Chairperson West, Vice Chairperson Bendix, Commissioner Sidhu, Commissioner Apland

Noes:

None

Excused:
Commissioner Alexander

Abstained:
None

3. Public Hearing:
Conditional Use Permit #25-02, EcoHands, 315 South First Street, 



Patterson, APN #131-004-003
                                

A public hearing to consider a Conditional Use Permit for the establishment of a 





recycling collection facility at 315 S. First Street, located in the Heavy 





Industrial Zone. The facility will be collecting all CRV items (aluminum & plastic 




bottles). Proposed hours of operation are from 8 a.m. to 4 p.m. Monday-Saturday 




with 1 to 2 employees on-site. This project is exempt from review under the 




California Environmental Quality Act §15303.

Associate Planner Rodriguez shared a PowerPoint presentation addressing the project. She answered questions from the commission.
Open Public Hearing:
8:08 p.m.

Alejandro, helping to translate for Oliver who is the applicant  

He stated that they are looking to encourage people to recycle and pair up with schools to provide a cleaner community.

Close Public Hearing:
8:10 p.m.

Motion to approve Conditional Use Permit #25-02 with five findings and twenty-five conditions of approval with addition of condition 26 to add a 6-month review of the project:



By:
Vice Chairperson Bendix



Conditions of Approval

1) All construction or placement of structures or other improvements shall be subject to the Uniform Fire Code, Uniform Building Code and other applicable fire protection and construction codes as adopted and enforced by the City of Patterson.

2) That parking spaces shall be marked with two parallel lines, one (1') foot apart, between each parking space with semi-circular caps.  The distance from the center of one parking divider to the center of an adjacent parking divider shall be nine (9') feet.  Parking spaces shall be nineteen (19') feet in length for each full-sized space and fifteen (15') feet for each small car space, not including the semi-circular cap, and shall be accessed as required in Title 18, chapter 72 (Off-Street Parking & Design Standards) of the Municipal Code. 

3) That Per Title 24, Section 2-7102 of the State Disabled Access Regulations, the parking lot shall provide the required number of accessible parking spaces.

4) That any required certification, authorization, or issuance of a permit by local, state, or federal officials shall be obtained prior to the start of activities pertaining to the proposed use.

5) All signage shall be subject to separate approval by the Community Development Director.   

6) That the applicant shall install public sidewalk and after installation of all improvements is complete, the operator shall request final inspection.  Such inspection shall be made by the Planning Department and final approval may be given, or denied pending required changes.   

7) The collection shall be manned by not less than one (1) or more than three (3) persons during all hours of operation.  No loitering shall be allowed during, after or between operating hours.

8) No music or other sound shall be permitted to be heard beyond the limits of the property.

9) On-site illumination, if provided, shall not be excessive and shall be directed into the site.  Shielding or other methods shall be used to prevent nuisance or disruptive lighting conditions.  Nuisance lighting conditions shall be corrected within 24 hours of notification.

10)  Spills of non-hazardous materials shall be washed down within one hour of occurrence. Spills of hazardous materials shall be dealt with within one hour of occurrence in accordance with guidelines obtained from the Stanislaus County Environmental Health Department.  These guidelines shall be permanently posted in or upon the shipping container, shall be replaced when necessary, and shall be available for inspection at the request of any City or County Official. 

11) All waste, trash, rejected materials and other debris shall be removed from the site and surrounding area as often as necessary to maintain a neat and clean appearance.

12) At close of business each day, the site shall be cleaned and swept, and all articles, barrels and other collection containers shall be locked inside the building or removed from the site.

13) Graffiti shall be removed from the site within 24 hours of appearance or notification, whichever occurs earlier.  

14) All Fire Department requirements shall be met to the satisfaction of the Fire Chief or his designated representative.

15) A minimum of five (5) parking spaces, plus one van accessible space, shall be maintained for the use, and shall meet all requirements of the Municipal Code and Americans with Disabilities Act (ADA).  

16) Law enforcement personnel shall have access to the property to conduct random inspections to ensure that compliance with the stated conditions is being followed.

17) That the project shall comply with all applicable stormwater regulations.

18) Project must comply with the latest edition of the California Green Building Code, including sections addressing Water Efficiency & Conservation for indoor and outdoor water use; Construction Waste Reduction, Disposal, and Recycling; Site Development; Construction & Demolition; Irrigation Controllers; Storm Water Drainage and Retention, etc.

19) That the project may be required to obtain an Industrial Stormwater Permit.

20) That all project landscape plans must comply with AB1881 (Water Use Efficiency) requirements.

21) Once the project is complete, all businesses generating 4 cubic yards of waste per week must comply with the AB 939 Commercial Recycling requirements.   Please contact Michael Renfrow in Public Works at (209) 895-8070 or mrenfrow@pattersonca.gov for further information regarding this item.

22) That water services must be installed to the property, however each building might be required to have adequate size services/utility connection and to be individually metered. Water Meters and backflow devices will be required for each suite.  All water meters shall be ordered and purchased through the Public Works Department.  Please call (209) 895-8060 to obtain a quote and to place your order.

23) That the applicant shall submit plans to the City Engineer for off-site public improvements and landscape plans for review and approval.  Any work on the City’s right-of-way requires a City Encroachment Permit.  Please contact Public Works at (209) 895-8060 for further information regarding this item.

24) That the applicant must contact the State, CalRecycle, regarding requirements for Recycling Centers.  This type of facility might be required to obtain certification from the State.  For further information, please visit www.calrecycle.ca.gov website.

25) That the applicant shall indemnify, defend, and hold harmless the City of Patterson, its agents, officers, and employees from any and all claims, actions, or proceedings against the City of Patterson, its agents, officers and employees to attack, set aside, void, or annul, any approval by the City of Patterson and its advisory agency, appeal board, or legislative body concerning the project, which action is brought within the time period provided for by the Government Code of the State of California.  The City of Patterson shall promptly notify the applicant of any claim, action or proceeding and shall cooperate fully in the defense.  If the City fails to do so, the applicant shall not thereafter be responsible to defend, indemnify or hold the City harmless.

26) This permit shall be reviewed 6 months after completion of the project for compliance with the listed conditions of approval.  Based on any record of complaints as well as observations made by Planning Commissioners and/or staff, the Commission may alter or add to the existing conditions of approval or find that the use is in compliance with all conditions of approval.  Further, the Commission may rescind the requirement for further review or schedule further review. (new condition)
Second:

Commissioner Apland
Motion passed:
4-0 Vote

ROLL CALL:
Chairperson West, Vice Chairperson Bendix, Commissioner Sidhu, Commissioner Apland 

Ayes:

Chairperson West, Vice Chairperson Bendix, Commissioner Sidhu, Commissioner Apland

Noes:

None

Excused:
Commissioner Alexander

Abstained:
None

ITEMS FROM STAFF: 

Community Development Director Stice stated that he has the housing element out for review by state HCD, comments are coming in and there are a few weeks to go through it all. He also stated that multiple projects are in a preliminary stage and that the Planning Commission will be getting projects in the next coming months. He stated that there will be 5 million square feet of industrial space being planned in 4 or 5 developments that will be coming up. He answered questions from the Commission regarding the Housing Element.
ITEMS FROM COMMISSION: 
Vice Chairperson Bendix stated that he would like to see signage for the construction on Las Palmas Avenue, but he assumed it was the AT&T cell tower. He also stated that the public should know about the construction projects underway in Patterson and putting up signs would help. Community Development Director Stice stated that he agreed with the idea and would relay the message to get that accomplished.
ADJOURNMENT: The Planning Commission regular meeting of February 27, 2025, was adjourned by Chairperson West at 8:15 p.m.
____________________________________________________________
Prepared by Denise Melo, Secretary of City of Patterson Planning Commission   
�





�





�





___�








 Planning Commission Minutes
February 27, 2025 - Official

