___________________________________________________



















[image: image1.wmf][image: image2.wmf][image: image3.wmf]      
CITY OF PATTERSON
PLANNING COMMISSION MINUTES
January 27, 2022
__________________________________________________________________
The Planning Commission regular meeting of January 27, 2022, was called to order by
Chairperson West at 7:03 p.m.
SHOWN PRESENT VIA ZOOM: Chairperson West, Vice Chairperson Bendix, Commissioner Lopez, and Commissioner Linares. Also present via zoom were City Planner Andrews, IT Manager Ford, City Attorney Goldstein and Planning Commission Secretary Ochoa. Shown excused was Commissioner Anderson
ROLL CALL:
Commissioner Linares, Commissioner Lopez, Vice Chairperson Bendix, Chairman West, Commissioner Anderson (Excused)
ITEMS FROM PUBLIC:




None



STATEMENT OF CONFLICT BY COMMISSIONERS:
None
CORRESPONDENCE:




None
INFORMATIONAL ITEMS:




None
CONSENT ITEMS:





None


AGENDA ITEMS:


1. Public Hearing:
Architectural & Site Plan Review # 21-10, Chipotle Restaurant

Review of an application to construct and operate a 2,304 square foot Chipotle restaurant on a 0.99 acre lot, located on the north side of Sperry Avenue, approximately 250 feet east of Ward Avenue, located between the existing Walgreens store and Mister Carwash, also known as APN 048-047-019.  The project would include 37 parking spaces, landscaping, and other appurtenances.  With hours of operation proposed for 11 AM to 10 PM, seven days a week.  The project would include a pickup window, that allows for pickup of previously ordered items, but would allow for a typical drive thru arrangement with orders made at a menu board.  The use is consistent with the General Commercial zone, where the lot is located.   

City Planner Andrews gave the staff report
Commissioners discussed the project with staff
Open Public Hearing:

7:13 p.m.
1.  Mike Singelyn

He is the applicant for this project. He is glad to be back in Patterson with another project as he also worked on the new Starbucks. He asked about condition #6 and stated he understands all of the conditions.

Close Public Hearing:
7:19 p.m.


Motion to approve Architectural & Site Plan Review # 21-10, Chipotle Restaurant, removing conditions #32 and #76
Vice Chairman Bendix

Conditions of Approval
Ongoing
	1
	 The project shall comply with all applicable State and Municipal Codes, including the most recent California Building Codes, the California Green Code, and the City's Multi-Agency Post-Construction Stormwater Standards and meet the requirements of the Public Works Department, City Engineer, Building Inspector, Community Development Department and Fire Chief.

	2
	The applicant shall comply with all conditions of approval and adopted mitigation measures.

	3
	Development shall occur in substantial conformance with the site plan and elevations as approved by the Planning Commission.

	4
	The applicant shall agree to defend at his/her sole expense any action brought against the City, its present or former agents, officers, or employees because of the issuance of said approval, or in any way relating to the implementation thereof, or in the alternative, to relinquish such approval.  The applicant shall reimburse the City, its agents, officers, or employees, for any court costs and attorney's fees which the City, its agents, officers, or employees may be required by a court to pay as a result of such action.  The City may, at its sole discretion, participate at its own expense in the defense of any such action but such participation shall not relieve applicant of his/her obligations under this condition. 

	5
	That it shall be the applicant/successor in interest's responsibility and obligation to maintain all project related landscaping, both on site and within the right-of-way in a viable growth condition in perpetuity.  It shall not be acceptable to install landscaping in furtherance of an occupancy permit only to subsequently neglect and abandon the landscape elements.

	6
	That, should the owner wish to convert the pickup window into a conventional drive thru at some future time, the owner shall first receive drive thru approval, as appropriate through the applicable municipal code section(s).

	
	

	 
	Design Requirements

	7
	All planted areas shall be separated from driveways by concrete curbs.

	8
	Stop signs shall be provided at all projects exits and internally as needed to ensure safety.

	9
	All sight distances for all corners and driveways shall conform to the City's sight distance requirements to the satisfaction of the City Engineer.

	10
	As applicable, streets, alleys, sidewalks, curbs, and gutters adjacent to the project shall be improved as necessary to provide safe vertical and horizontal transitions to connect improvements constructed within the project to existing improvements, as directed by the City Engineer.

	11
	All on-site utilities shall be underground and all utility fixtures, transformers, switching boxes and other installations shall be screened from view.  All new utility connections shall be meet current City standards.

	12
	Per Title 24, CBC Part 2, Volume 1, Chapter 11A and 11B, parking lots shall provide the required number and configuration of accessible parking spaces.

	13
	At the time of Public Improvement Plan review, plans shall be submitted to all applicable public utility companies for review.  Comments from the utilities regarding required easements, transformer locations, etc. shall be forwarded to Public Works Department for review and approval. 

	14
	All required public improvements shall be designed and constructed in accordance with the City of Patterson Standard Specifications and Drawings, including any standards updated prior to approval of the improvement plans.

	15
	All signage shall be submitted for a sign permit and shall be in accordance with relevant provisions of the Patterson Municipal Code and the Mahaffey Plaza sign program and that any proposed monument sign shall be constructed with design elements and materials reflective of those of the main building.

	16
	Setbacks shall be verified by a licensed surveyor.

	17
	All trash enclosures shall be constructed to comply with the latest Health Department and Storm Water regulations (located at least 50' from any storm drain inlet, have covers, have adequate secondary containment, etc.). Trash enclosures shall be sized to comply with commercial and organics recycling requirements and shall be designed by California licensed architects and engineers.  The applicant shall size the trash enclosure to the satisfaction of the Public Works Department.  All trash enclosure plans must be reviewed and approved by the City’s Planning Department.  

	18
	The project shall install 100 percent full trash capturing devices to comply with Stormwater Regulations and provide the City with a copy of the maintenance plan.  A maintenance agreement will be required, and devices must be adequately maintained, and business must sign up with the City’s FOG program to ensure maintenance. 

	19
	Interior vehicle travel ways shall be designed to be capable of withstanding loads imposed by trash and delivery trucks.

	20
	The project shall conform to the requirements of AB 936 and AB 1826 (Recycling).  Commercial projects shall submit a Construction Waste Management Plan for the City's review/approval.  All businesses generating four cubic yards of waste or more, per week, must comply with AB 939 Commercial Recycling requirements.

	21
	Plans for off-site public improvements and landscape plans must be submitted to the City Engineer for review and approval.  

	22
	Project shall comply with all Stormwater Pollution Prevention and Valley Air Pollution Control District regulations, including the City’s Post Construction/LID Standards and the Construction Activities Storm Water General Permit (2009-0009-DWQ Permit. 

	23
	That prior to building permit issuance, the applicant shall provide a planning for parking, including accessible facilities.  All end parking spaces adjacent to raised curbing shall be one foot wider than the normal stall width (10 feet total).

	24
	A 20' wide fire lane shall be maintained throughout the site.  An approved fire apparatus turn around shall be provided.  Fire lane and turn around shall be an all-weather surface.

	25
	That the drive aisle to the north shall be maintained for vehicle access.

	26
	If, the site grading area exceeds one acre or is part of a larger common plan of development, therefore the applicant must obtain a Construction Activities Storm Water General Permit.  In addition, a State's WDID number, SWPPP, and Storm Water Pollution Prevention Manager Information shall be required.

	27
	On-site and off-site storm water runoff shall be detained and metered into the storm drainage system to the satisfaction of the City Engineer.  

	28
	For new water service or existing water service, a Reduced Pressure Backflow prevention apparatus shall be installed per City Standards.

	29
	Moisture barrier shall be installed behind sidewalk.

	30
	Landscaping shall be provided along the frontage of the property.  Landscaping plan shall be subject to review and approval by the Public Works and Community Development Departments.

	31
	Project shall comply with all applicable stormwater regulations (Federal, State, and Local).  The applicant shall work with the City as it monitors the project during construction activities and perform adequate inspections as required by the City's MS$ Phase II Permit.  A deposit account shall be established by the developer/project owner to cover all SWPPP inspections conducted by the City.

	32
	All permanent basins shall be designed to meet the post-construction stormwater standards and AB 1881 requirements.  Storm drainage plans shall be engineered and/or developed by a Qualified Stormwater Designer (QSD).  Prior to dedicating any basin/storm drainage facility to the City, they must meet City Standards, stormwater regulations, be set-up with SCADA, and be included in the maintenance district to provide funding for on-going maintenance.  Any temporary basin shall have adequate Best Management Practices (BMPs) and shall be monitored and inspected by a QSP to ensure stormwater compliance.  The temporary basin shall have a monitoring gauge to monitor the levels as well as have an emergency contingency plan to address high levels during the heavy storm season.  Any discharge to the City's storm system is prohibited and requires the City's authorization and lab sampling to ensure water quality meets State requirements.  All costs associated with discharge/sampling are the responsibility of the developer/project owner.  A secured maintenance agreement shall be required to ensure that the basin is monitored, maintained, and completed to satisfy state, local, federal stormwater, and FEMA regulations.

	33
	Street trees shall be required along street frontages; A street tree deposit shall be posted with the Public Works Department.  The type, size, and location shall be in accordance with the City's street tree list as approved by the Public Works and Planning Departments.  The approved tree for Sperry Avenue is Phoenix Dactylifera "Date Palm."  Street trees shall be installed per City Standards and a street tree deposit shall posted with the Public Works Department.

	34
	Fire apparatus access roads shall be in accordance with the 2016 California Fire Code Section 503 and Appendix D.

	35
	Fire protection water supplies shall be in accordance with the 2016 California Fire Code Section 507 and Appendix C.

	36
	Fire sprinklers for A2 occupancy may be required based on occupant load per 2019 CA Fire Code, Section 903.2.1.2.  If so, Fire Department Connection (FDC) shall be located at the street.  The FDC shall be within 75' of a fire hydrant.  The FDC shall be equipped with locking FDC plugs.

	37
	All facilities shall be connected to the City's municipal system for water, sewer, and storm and be signed up for services prior to operation.

	38
	The project shall provide a separate non-potable water system for landscape irrigation and non-potable water services to be connected to the City's non-potable water system.

	39
	All on-site water lines and fire hydrants shall be private.


Prior to Grading

	40
	Any abandoned wells on the project site shall be destroyed in accordance with requirements of the Stanislaus County Environmental Health Division prior to issuance of any grading permit or other site improvements.  All abandoned/destroyed wells shall be clearly shown on the improvement plans for the project.  A well destruction permit shall be obtained from the Public Works Department prior to starting the work and inspections/confirmation of well destruction shall be confirmed by the Public Works Department.

	41
	Prior to the approval of grading and public improvement plans, the applicant shall establish a deposit account for plan check and inspection costs, post bonds as appropriate and obtain an encroachment permit as required.

	42
	Complete grading and drainage plans shall be submitted to and approved by the City Engineer.

	43
	At the time of grading/improvement plan submittal, the applicant shall deposit with the City, at time of plan check submittal, adequate funds to employ a qualified independent engineering consultant selected by the City to review grading and drainage improvement plans and to inspect the site prior to and during all major site preparation and grading.  A qualified Soils Engineer shall submit tests and reports to certify each parcel as ready for construction prior to starting foundations.

	44
	Where the difference in average elevations between adjacent lots is in excess of six inches, slope shall not exceed 2 to 1 grade or a grade found reasonable in the soils report, or a retaining wall shall be required. 

	45
	Prior to any site grading or construction, an Erosion Sediment Control Plan and stormwater treatment control measures shall be submitted to and approved by the Public Works Department.  Said plan and program shall address specific temporary and permanent erosion control measures associated with the project. 

	46
	It is the contractor’s responsibility to use watering, dust fences, or other methods as directed by the City, to control dust throughout the construction operation. The applicant shall use all reasonable efforts to obtain non-potable water for construction or dust control purposes.  This condition shall not be interpreted as prohibiting the use of City water supplies for the irrigation of street lines and landscaping required in common areas.  A fire hydrant use permit shall be obtained from the Public Works Department prior to commencement of grading activities.

	47
	All grading and construction debris materials shall be removed and disposed of, per the project's approved Solid Waste Management Plan, per the City's Construction and Demolition Ordinance.  All material must be disposed of property and to an approved/certified facility.  

	48
	The applicant or his/her agents or employees shall be responsible for removal and clean-up of any spill on public streets during his/her entire grading operations.

	49
	Lots shall drain in such a manner that there will be no undrained depressions.  The design of all such drains shall be subject to the review and approval of the City Engineer.

	50
	An engineering cost estimate shall be submitted with the grading and improvement plans for public improvements.  The applicant's engineer shall sign and stamp the calculation and cost estimates prior to issuance of building permits.

	51
	Prior to issuance of the grading permit, final right-of-way width and routes for drainage channels, pipelines, and service roads needed shall be established.

	52
	Measures to control erosion during construction shall be incorporated into the grading plans and shall be subject to review and approval by the City Engineer.

	53
	Prior to issuance of a grading permit, the applicant shall submit a soils report, prepared by a registered geologist or qualified civil engineer, concerning soil conditions for grading, excavations, slope stabilization and revegetation, and footing and foundation construction.

	54
	The applicant shall obtain a grading permit for on-site excavation and fill prior to construction.

	55
	Prior to concrete pour inspection, compaction tests are required for all footings.

	56
	The project shall obtain an Industrial Stormwater Permit under the State Water Board and Regional Water Quality Control Board general permit, if applicable. 

	57
	The project shall submit copies of the project's SWPPP, WDID number, and dust permit and install all stormwater temporary construction BMPs prior to any soil disturbance activities, per the approved SWPPP and undergo an inspection by the City.


Construction Phase

	58
	Construction shall be limited to between the hours of 7:00 a.m. and 6:00 p.m. on non-holiday weekdays, and on Saturdays to between the hours 8:00 a.m. and 6:00 p.m.; that additional hours may be permitted at the discretion of the Engineering Director.  Construction activities may be allowed at any time on the interior of buildings once they are entirely enclosed, in conformance with the City’s noise ordinance.  

	59
	The applicant shall be responsible during construction for cleaning city streets, curbs, gutters, and sidewalks of dirt tracked from the subject site.  The flushing of dirt and debris to storm drain or sanitary sewer facilities shall not be permitted.  The cleaning shall be done after each day's work or as directed by the Director of Public Works or the Planning Department.

	60
	All water, gas, sewer, underground electrical power, cable TV, telephone lines, conduits, or underground drain lines shall be installed before any paving is placed.


Prior to Building Permit Issuance
	61
	Prior to issuance of a building permit, an exterior lighting plan (photo-metric plan) and site lighting footcandle plan shall be prepared subject to the review and approval of the Community Development Department.  Lighting shall meet City standards, including mounting, aiming, and shielding light fixtures to prevent glare, light trespass, and light pollution.

	62
	For landscape and irrigation within the public ROW, a deposit shall be required to cover the installation of irrigation, landscaping, and plant materials (relocation) based upon the estimate of costs to be paid for and provided by the applicant. Project landscape plans must comply with AB1881 (Water Use Efficiency) requirements. Once the landscaping is complete an audit must be completed, and the certificate sent into the City.

	63
	Prior to building permit issuance, the applicant shall submit to the City for review and approval a grading and drainage plan in compliance with all applicable regulations of the City of Patterson.

	64
	The applicant shall annex into all applicable Community Facilities Districts (CFDs) and/or Maintenance Districts that the City has in place for providing services to the site and/or on-going maintenance of any improvements that the City will take over (CFD 2013-01, Landscape Maintenance Districts (LMDs) Benefit Assessment Districts (BADs), County Service Area (CSA) and pay for all costs associated with this item.

	65
	The applicant shall submit a mitigation mitigation plan for review and approval by the City and the San Joaquin Valley Air Pollution Control District (SJVAPCD) for construction-related emissions prior to construction. Such a plan shall include provisions for compliance with District Rule VIII and shall include at least the following requirements:
a. All disturbed areas, including storage piles, which are not being actively utilized for construction purposes, shall be effectively stabilized of dust emissions using water, chemical stabilizer/suppressant, or vegetative ground cover. 
b. All on-site unpaved roads and off-site unpaved access roads shall be effectively stabilized of dust emissions using water or chemical stabilizer/suppressant.
 c. All land clearing, grubbing, scraping, excavation, land leveling, grading, cut & fill, and demolition activities shall be effectively controlled of fugitive dust emissions utilizing application of water or by presoaking.
 d. With the demolition of buildings up to six stories in height, all exterior surfaces of the building shall be wetted during demolition.
 e. When materials are transported off-site, all material shall be covered, effectively wetted to limit visible dust emissions, or at least six inches of freeboard space from the top of the container shall be maintained.
 f. All operations shall limit or expeditiously remove the accumulation of mud or dirt from adjacent public streets if and as needed when operations are occurring. (The use of dry rotary brushes is expressly prohibited except where preceded or accompanied by sufficient wetting to limit the visible dust emissions.) (Use of blower devices is expressly forbidden.) 
 g. Following the addition of materials to, or the removal of materials from, the surface of outdoor storage piles, said piles shall be effectively stabilized of fugitive dust emissions utilizing sufficient water or chemical stabilizer/suppressant. 

	66
	Public records are to be researched for the location of all possible survey monuments within the scope of the project and report shall be furnished to City Engineer and County Surveyor. 

	67
	Prior to issuance of a building permit, the applicant shall submit a Final Landscape and Irrigation Plan in compliance with AB 1881.  The City of Patterson Post-Construction Stormwater Standards Manual shall be followed for guidance.  The landscaping plan shall be consistent with City Standards and shall include at least two of the following low impact development methods:
• bioretention 
• cisterns and rain barrels 
• green roofs
• roof leader disconnection 
• permeable and porous paving (must be no less than 20% of walking or patio surface per Section 18.78.040) 
• vegetated swales and filter strips 
• volume retention

	68
	Prior to issuance of a building permit, sufficient water pressure and capacity to serve the project area shall be assured.  Water mains shall be installed on-site to provide adequate flow and reliability as required by the Public Works Director, City Engineer, and Fire Chief.

	69
	Design of the proposed project facilities shall include provisions to minimize water requirements, including the use of the following, to the extent deemed practical by the City:                                                                                                                         a. Use of low-flow fixtures, including shower heads and toilets as per the Uniform Building Code and SB 407.
b. Use of drought-tolerant, native landscaping, per AB 1881.

	70
	Separate water meters shall be installed for landscaping and domestic indoor water services.  Water meters shall be purchased from the Public Works Department and installed per City Standards.

	71
	The project shall comply with City of Patterson Best Management Practices as defined in the City’s latest Urban Water Management Plan, California Urban Water Conservation Council BMPs, AB 1881, and mandatory water conservation measures defined in the State of California Green Building Code.

	72
	Future drainage system discharges shall comply with applicable state, federal pollutant discharge requirements, including the California National Pollutant Discharge Elimination System requirements.

	73
	Adequate storm interceptor, grease interceptor, sewer pre-treatment, stormwater control measures/LID, or other devices shall be designed by a California licensed architect and engineer and must comply with all local, state, and federal requirements and satisfy the City Engineer and Public Works Director.  All grease interceptors shall be constructed by the developer on private property on the sewer service lateral for any facility whose operation will result in oil, grease, sand, or other solids being discharged into the City’s sanitary sewer system.  Interceptors shall conform to the latest California Plumbing Code Standards (minimum size is 750 gallons).  The project owner shall be required to enter into a maintenance agreement with the City and to enroll in the City's on-going maintenance program.   Interceptor vault and sample point shall be installed outside of the building, below grade.

	74
	A Stormwater Pollution Prevention Plan (SWPPP) shall be completed and submitted to the City prior to any construction activities and must address grading, drainage, erosion control, and Post Construction Best Management Practices (BMPs).  In compliance with the City’s Post-Construction Stormwater Standards Manual, an Operations and Maintenance Plan also must be submitted. A SWPPP Inspection Deposit must be posted with the City to cover all SWPPP Inspections for the duration of the project.  

	75
	If using truncated domes, City prefers "Set in Place" domes.

	76
	Storm drain basin plans shall be completed with SCADA system integrated with the City's overall system, and basin sized adequately to accommodate the additional storm runoff from the project, if existing basin is utilized as part of this project.  If storm drainage runoff will be handled onsite, then onsite storm system plans, capacity calculations, and infiltration rate shall be submitted for approval.  A maintenance plan shall be submitted for onsite storage and infiltration.

	77
	The project shall participate in a Maintenance Community Facility District to assist in payment of public improvements and/or any additional Infrastructure Community Facility District that are within the project's boundaries.

	78
	If the property is within a Special Flood Hazard Area, applicant shall obtain a floodplain development permit and build according to floodplain standards.

	79
	All pre-existing sewer laterals and storm drain lines shall be video inspected to ensure that the lines are clear of any debris and that they are not damaged.

	
80
	All landscaping in the Public Right-of-Way shall be subject to review and approval by the Public Works and Community Development Department, shall comply with AB 1881 requirements and shall be subject to a 90-day maintenance period.  The project shall be required to participate in a maintenance CFD for the on-going maintenance of the landscaping installed within the public right-of-way.

	81
	All pre-existing public improvements adjacent to the project area shall meet the ADA standards.

	82
	Sprinkler plans, if necessary, shall be submitted prior to construction materials being brought on site.  

	83
	The applicant/project developer shall pay as fair share toward the necessary improvement costs (percentage) for the following intersections: 1) Ward Avenue & 9th Street - 1.76% -realignment and signalization; 2) Ward Avenue & Sperry Avenue - 2.34% - realignment; 3) 9th Street & Las Palmas Avenue - 1.59% - Signalization; 4) 9th Street & Sperry Avenue - 1.24% - Signalization 

	84
	Bicycle racks to accommodate at least two bicycles shall be designed and installed in accordance with City Standards, with placement to be approved by the Community Development Department.


Prior to Certificate of Occupancy

	85
	Prior to issuance of a certificate of occupancy for each building, all ducts, meters, air conditioning equipment and all other mechanical equipment, whether on the ground, on the structure or elsewhere, shall be screened from public view with materials architecturally compatible with the main structure.  This includes gas and electric meters, electric transformers, and large water piping systems to be completely screened from a standard public viewing height of 6 feet.  All roof-mounted equipment which generates noise, solid particles, odors, etcetera, shall cause the objectionable material or effects to be directed away or shielded from adjoining land designated for residential development. A plan for the treatment of roof top equipment shall be submitted to the Planning Department prior to issuance of a building permit. 

	86
	Any street, alley, sidewalk, curb, or gutter, damaged by the applicant or its agents or employees shall be repaired, prior to issuance of the certificate of occupancy at the discretion of the City Engineer.

	87
	Prior to issuance of a certificate of occupancy, mail receptacles shall be provided as required by the Postmaster of the City of Patterson.

	88
	Landscape and Stormwater Control Measures Maintenance and Access Agreement shall be required to ensure the on-going maintenance of the private landscape and stormwater control measures installed onsite.  

	89
	Project shall be required to stabilize the project for stormwater compliance and work with the City to perform a Final Stormwater inspection and acquire a Notice of Termination for the project.  All construction/temporary BMPs must be removed, and all post-construction BMPs/stormwater treatment controls be in place and properly inspected.

	90
	The project shall complete the annexation process (Unanimous Approval form) for participation in the City's Community Facilities Districts for maintenance, infrastructure, and public safety, and obtain formal clearance from the City's Finance Director prior to receive the Certificate of Occupancy.  The applicant shall pay for all costs associated with this process, including, and not limited to consultant fees, attorney fees, bond counsel fees, and City administration fees.

	91
	Final inspection of the sewer and storm drain system shall be by televised inspection device as approved by the City Engineer at applicant’s expense.

	92
	The project shall be designed to the Low Impact Development (LID) Standards.  The City of Patterson Post Construction Manual shall be followed for guidance.  

	93
	Knox box to be installed to the right of the main entrance door with the top of box no higher than six feet above finished grade.

	94
	Building(s) shall be properly addressed with numerals at least six inches tall, contrasting with background, illuminated between dusk and dawn daily and be clearly visible from the street.  Larger numbers, suite, and rear door identification, etc. may be required to facilitate emergency response.

	95
	Where required, portable fire extinguishers shall be at least a 2A10BC per 2019 CA Fire Code section 906.

	96
	All fire lanes must be posted and enforced, per Police and Fire Department Guidelines.

	97
	The main electrical service shall be accessible for emergency shut off from the outside of the building.  This may be accomplished by providing one (1) main disconnect, a Knox disconnect or shunt trip device.  If, out of necessity, there is more than one (1) main service disconnect, these disconnects shall be located in close proximity to each other approved by the Fire Chief.  Exception: Electrical control room with a marked door that is directly accessible from the outside of the building.

	98
	All commercial fire alarm systems shall be UL listed and be maintained throughout the life of the alarmed building.


Second:


Commissioner Linares

Motion passed:

4-0 Vote

ROLL CALL:


Chairman West, Vice Chairman Bendix, Commissioner Linares, Commissioner Lopez



Ayes:


Chairman West, Vice Chairman Bendix, Commissioner Linares, Commissioner Lopez
Noes:


None

Abstained:

None
Excused:

Commissioner Anderson
2. Public Hearing:
BHT Auto Storage Extension Request (Architectural & Site Plan 
Review #19-06 and Conditional Use Permit #19-06)
The City has received a request to extend the BHT Auto Storage Project approval expiration date for a period of two additional years.  The project included a vehicle storage facility located on Assessor Parcel Numbers 021-022-028, -043, -044, -045, -046, an approximately 224 acre site located south of Zacharias Road, between the California Aqueduct and Delta Mendota Canal.  The applicant proposes outdoor storage of used, operable and inoperable vehicles for wholesale online auction.  The project is divided into two phases.  The first phase would include a 12,800 square foot office building, parking areas, storm drainage infrastructure, and associated landscaping, on the southern half of the project area, approximately 100 acres.  The second phase would include a 12,800 square foot office building, parking areas, storm drainage infrastructure and associated landscaping on the balance of the site.  No dismantling, draining of fluids, crushing or sale of parts is proposed.  Vehicles are sold in the same condition as they arrive.  The permit time extension requires a public hearing by the Planning Commission.

City Planner Andrews gave the staff report
The Commission discussed the extension with staff

Open Public Hearing:

7:28 p.m.

1. Kandace, 504 Nordell Place, Patterson

She is a resident of Patterson and not in favor of this extension approval. This area is not a good area for this type of project. It will be an eyesore especially from the freeway.
2. Joe Hollowell, Crestmont Development
He stated he has been involved in this community and loves this community and will be sure that they will follow the strict conditions that were put in place at the time of approval in regards to more landscaping. It would create a layering effect and it would not be just a parking lot looking project. With COVID-19 restrictions that happened in 2020 just set them back some in the project.
3. Jeff Arambel, 433 Roxanne Drive, Patterson
He is the project applicant. He stated they did have some issues during COVID and it did create problems for the progression of the project going forward. There were some issues with the financing and the infrastructure for the entire business park area that was affected. He is asking for the extension for this project that was originally approved in January 2020.
4.  Shivaugn Alves, 1345 Henley Parkway, Patterson

She has been following this project from the beginning and she is not in favor of the extension approval. She does not support this project. It looks like a giant parking lot in the welcoming oasis of the valley. She urges the Planning Commission to not approve the extension. She respects and supports many projects but this project is not fitting for the future of our town.
5.  Juan Vasquez, Ceres

He does not support the approval of the extension, stating it is just a massive parking lot.
Close Public Hearing:

7:45 p.m.
Commissioners continued discussion regarding the project
Re-Open Public Hearing:

7:50 p.m.

1. Jeff Arambel, 433 Roxanne Drive, Patterson
He spoke in regards to the issues that they were having at the time of the original approval. Stating many offices, including city offices were closed right after the project got approved. It was hard to move forward with all of the circumstances and everyone stopped moving on the project. BHT was not able to get going with their financing and the big companies were not moving forward.

Close Public Hearing:


7:54 p.m.
Motion to continue this project to the February 10, 2022 Planning Commission meeting for more time to review the original conditions of approval of the project



Vice Chairman Bendix

Second:

Commissioner Linares
Motion passed:
4-0 Vote
ROLL CALL:

Commissioner Linares, Commissioner Lopez, Vice Chairman Bendix, Chairman West 

Ayes:


Commissioner Linares, Commissioner Lopez, Vice Chairman Bendix, Chairman West
Noes:


None
Abstained:

None

Excused:

Commissioner Anderson
ITEMS FROM STAFF:
City Planner Andrews informed the Planning Commission that David James is no longer with the City of Patterson
ITEMS FROM COMMISSION:
None
ADJOURNMENT:  The Planning Commission regular meeting of January 27, 2022, was adjourned by Chairperson West at 8:07 p.m.
_____________________________________

Prepared by Lisa Ochoa, Secretary 
City of Patterson Planning Commission  
�





�





___�








                                                                                                Planning Commission Minutes


January 27, 2022- Official

